## Sheet1
SAMPLE ID | ADDRESS | SURFACE WATER | OUTFALL CLASSIFICATION |  |  | DRY WEATHER FLOW? | DATE | TIME | YEAR 3 RESULTS | [6 empty] | DRY WEATHER FLOW? | DATE | TIME | YEAR 4 INVESTIGATION RESULTS | [6 empty] | COMMENTS
|  |  | Problem | High | Low |  |  |  | TEMPERATURE | pH | SPECIFIC CONDUCTIVITY | CHLORINE | AMMONIA | SURFACTANTS | E. COLI |  |  |  | TEMPERATURE | pH | SPECIFIC CONDUCTIVITY | CHLORINE | AMMONIA | SURFACTANTS | E. COLI
[9 empty] | ◦C |  | µS/cm |  | ppm | mg/L | (MPN/100ml) |  |  |  | ◦C |  | µS/cm | mg/L | ppm | mg/L | (MPN/100ml)
1 | FROST RD/DEPORT RD PARKING |  |  |  | X | YES | 2021-06-22 | 11:46 | 23.6 | 6.5 | 513 | 0.25 | <0.1 |  | 65
2 | 20 BEACON HILL |  |  |  | X | NO | 2021-06-28 | 9:55
3 | 24 GERTRUDE RD |  |  |  | X | COULD NOT LOCATE | [9 empty] | NO | 2022-06-15 | 8:15 | [7 empty] | Located on 6/15/22.
4 | 41 NASHUA RD |  |  |  | X | NO | 2021-06-28 | 10:55
5 | 47 NASHUA RD |  |  |  | X | NO | 2021-06-28 | 11:00
6 | 6 ANDERSON RD |  |  |  | X | NO | 2021-06-22 | 8:15
7 | 21 CASTLEHILL RD (BANCROFT) |  |  |  | X | COULD NOT LOCATE | [9 empty] | NO | 2022-06-15 | 8:30 | [7 empty] | Located on 6/15/22.
8 | 8 GLANCE | UNNAMED STREAM |  |  | X | YES | 2021-06-22 | 9:53 | 21.9 | 6 | 192.8 | 0 | <0.1 | 1 | 191.8 | NO | 2022-06-15 | 8:51 | [7 empty] | CATCHBASINS CONNECT TO CULVERT. STREAM FLOWING THROUGH CULVERT. CATCHBASINS DRY. NO STORMWATER FLOW IN CATCHMENT SYSTEM.
9 | 1-3 WINTER ST |  |  |  | X | NO | 2021-06-22 | 8:40
10 | 14 LANCASTER |  |  |  | X | NO | 2021-06-22 | 9:00
11 | 42 CATSLE HILL |  |  |  | X | NO | 2021-06-22 | 10:20
12 | 58 CASTLE HILL |  |  |  | X | NO | 2021-06-22 | 9:20
13 | 4 ROWE RD |  |  |  | X | NO | 2021-06-22 | 9:35
14 | 23 MEETINGHOUSE RD |  |  |  | X | NO
15 | 6 MEETINGHOUSE |  |  |  | X | NO | 2021-06-28 | 11:25
16 | FIRE STATION |  |  |  | X | NO | 2021-06-28 | 12:50
17 | 26 ROCK POND |  |  | X |  | YES | 2021-06-21 | 9:20 | 21.9 | 7.25 | 305 | 0 | <0.1 | 0.5 | 201.4 | NO | 2022-06-15 | 9:13
18 | ROCK POND /JORDAN |  |  | X |  | NO | 2021-06-22 | 12:00
19 | TOWN BEACH |  |  | X |  | NO | 2021-06-22 | 12:20
20 | 7 OSGOOD |  |  |  | X | NO | 2021-06-28 | 13:20
21 | 5 TURTLE ROCK RD |  |  | X |  | COULD NOT LOCATE | 2021-06-22 | [8 empty] | NO | 2022-06-15 | 9:20 | [7 empty] | Located on 6/15/22. Behind a row of mailboxes.
22 | 32-34 HORSESHORE RD |  |  | X |  | NO | 2021-06-22 | 12:58
23 | 39 FARMER RD (HORSESHOE) |  |  | X |  | COULD NOT LOCATE | [9 empty] | NO | 2022-06-15 | 9:23 | [7 empty] | Located on 6/15/22.
24 (38) | WEST SHORE/WOODVUE | CANOBIE LAKE |  | X |  | YES | 2022-06-29 | 11:17 | 25.1 | 6.5 | 1109 | 0 | <0.1 | 1.5 | 1732.9 | NO | 2022-06-15 | 9:34 | [7 empty] | CATCHBASINS CONNECT TO CULVERT. STREAM FLOWING THROUGH CULVERT. CATCHBASINS DRY. NO STORMWATER FLOW IN CATCHMENT SYSTEM. DOGGY DAY CARE UPSTREAM COULD BE CAUSE OF HIGH E. COLI IN SURFACE WATER.
25 | WESTSHORE/PINERIDGE | CANOBIE LAKE |  | X |  | YES | 2021-06-21 | 11:53 | 24.7 | 7 | 386 | 0 | <0.1 | 3 | 26.9 | NO | 2022-06-15 | 9:48 | [7 empty] | CATCHBASINS CONNECT TO CULVERT. STREAM FLOWING THROUGH CULVERT. CATCHBASINS DRY. NO STORMWATER FLOW IN CATCHMENT SYSTEM.
26 | 13 ARMSTRONG |  |  | X |  | NO | 2021-06-22 | 13:15
27 | 1 JOHNSON RD |  |  | X |  | COULD NOT LOCATE | [9 empty] | NO | 2022-06-15 | 9:55 | [7 empty] | Located on 6/15/22.
28 | WOODVUE/LAKEWOOD | CANOBIE LAKE |  | X |  | YES | 2021-06-21 | 12:45 | 22.6 | 7 | 579 | 0 | 0.325 | 0.25 | 93.3 | YES | 2022-06-15 | 10:00 | 17.6 | 6.5 | 535 | 0.1 | <0.1 | 0.25 | 307.6 | COULD NOT COLLECT FLOW FROM OUTFALL. SAMPLE COLLECTED FROM CATCH BASIN UP LINE FROM OUTFALL. ORANGE SLIME, WHITE/GRAY CLOUDS, OIL SHEEN OBSERVED IN POOL BELOW OUTFALL FLOW. TOWN SHOULD CONSIDER CLASSIFYING AS PROBLEM OUTFALL BASED ON OBSERVATIONS AND SEWER INPUT INDICATORS.
29 | 48 WOODVUE |  |  | X |  | NO | 2021-06-22 | 13:24
30 | HAYES HEART/SYLVESTRI | CANOBIE LAKE |  | X | [11 empty] | NO | 2022-06-15 | 11:20 | [7 empty] | POOL AREA SHOULD BE DUG OUT.
31 | 91 GOV. DINSMORE |  |  |  | X | NO | 2021-06-28 | 13:45
32 | 39 ROULSTON |  |  |  | X | NO | 2021-06-28 | 14:10
33 | 3 DOIRON |  |  |  | X | NO | 2021-06-29 | 8:34
34 | 10 COLE |  |  | X |  | NO | 2021-06-29 | 8:40
35 | 15 COLE |  |  | X |  | NO | 2021-06-29 | 9:00
36 | 20 DOIRON |  |  | X |  | NO | 2021-06-29 | 9:10
37 | DOIRON RD (NORTH) |  |  | X |  | COULD NOT LOCATE | [19 empty] | Confirmed on 6/15/22 that this outflow does not exist.